## Supply_Details
Private Water Supply: Risk Assessment tool - Toilet Flushing
|  |  |  | Supply Name & Address: |  | V2.03
Local Authority: | Local Authority: | Supply Reference: | Supply Reference: | Supply Name & Address:
Estimated daily volume of water supplied (m3 per day): |  | Normal number of consumers served (maximum): |  | Date of Risk Assessment:
| Local Authority: Supply Reference: | Supply Name & Address:
Regulation Supply Type: |  |  |  |  | Assessor:
Addresses of connected sites
Name of person / organisation | Relevance | Telephone number | Address | Email | Purpose | Comments
Description of Supply
Details of source |  | Location |  | Grid reference
Details of any water treatment processes present:
Other: please enter details
Diagram of supply
Insert hyperlink or file location
Manuals, SOP's, Instructions for use
T
Details of departures authorised
Please enter details:
Summary of previous sample results
Please enter details:
Summary of details of previous investigations and actions taken
Please enter details:
Details of previous/existing enforcement notices served
Please enter details:
Result of previous risk assessment (if applicable)
Please enter details:
Details of action taken (or to be taken) by relevant persons in respect of investigation
Please enter details:
Any additional relevant details or other information relating to the supply:
Please enter details:

## Risk_Assessment
Private Water Supply: Risk Assessment tool - Toilet Flushing
[6 empty] | Local Authority: |  |  |  | Supply Reference:
[6 empty] | Supply Name & Address: |  |  |  | 0
[6 empty] | Hazard Guidance - |  |  |  | Select Risk number:
#N/A
Risk | High risks | V High risks | Medium Risks | Low risks | TBC | Risk No. | Hazard Description | Yes/No |  | Likelihood | Severity | Risk | Comments
A - General Overview
TBC1 | H0 | VH0 | M0 | L0 | TBC1 | A0 | Have there been any changes since risk assessment last carried out? | TBC |  | 5 |  | TBC
TBC2 | H0 | VH0 | M0 | L0 | TBC2 | A1 | Is there a site plan and/or schematic showing location of source, chambers, tanks, distribution network including valves, pipes, consumer premises etc.? | TBC |  | 5 | 5 | TBC |  | 1 | Yes | TBC | 5x5 Risk scoring
TBC3 | H0 | VH0 | M0 | L0 | TBC3 | A2 | Are there any procedures and/or written records for the supply (i.e. for checks, monitoring or maintenance, etc.)? | TBC |  | 5 | 5 | TBC |  | 2 | No | L | Low |  | < | 6
TBC4 | H0 | VH0 | M0 | L0 | TBC4 | A3 | Are there any manufacturers' instructions for the equipment on the supply? | TBC |  | 5 | 5 | TBC |  | 3 | TBC | M | Medium | 6 | to | 11
TBC5 | H0 | VH0 | M0 | L0 | TBC5 | A4 | Is there an emergency plan for the provision of an alternative water supply? | TBC |  | 5 | 5 | TBC |  | 4 | N/A | H | High | 11 |  | 15
TBC6 | H0 | VH0 | M0 | L0 | TBC6 | A5 | Has the owner or operators had appropriate training for the supply? | TBC |  | 5 | 5 | TBC |  | 5 |  | VH | V. High |  | > | 15
TBC7 | H0 | VH0 | M0 | L0 | TBC7 | A6 | Does the sampling history identify the presence of any hazards? | TBC |  | 5 | 5 | TBC
TBC8 | H0 | VH0 | M0 | L0 | TBC8 | A7 | Is there a documented contingency plan for periods of insufficiency? | TBC |  | 5 | 5 | TBC
TBC9 | H0 | VH0 | M0 | L0 | TBC9 | A8 | Is there a documented contingency plan in the event of power failure, equipment failure? | TBC |  | 5 | 5 | TBC
TBC10 | H0 | VH0 | M0 | L0 | TBC10 | A9 | Is there a person or company nominated as having control of the supply? | TBC |  | 5 | 5 | TBC
TBC11 | H0 | VH0 | M0 | L0 | TBC11 | A10 | Is any storage of water appropriately sized | TBC |  | 5 | 5 | TBC
TBC12 | H0 | VH0 | M0 | L0 | TBC12 | A11 | are storage tanks covered and protected from ingress? | TBC |  | 5 | 5 | TBC
TBC13 | H0 | VH0 | M0 | L0 | TBC13 | A12 | does pipework go straight from source to cistern (ie no connections to other systems or taps) | TBC |  | 5 | 5 | TBC
TBC14 | H0 | VH0 | M0 | L0 | TBC14 | A13 | Are there concerns about the quality of source based on sample data | TBC |  | 5 | 5 | TBC
FALSE | H0 | VH0 | M0 | L0 | TBC14 | A14 |  | N/A | N/A
FALSE | H0 | VH0 | M0 | L0 | TBC14 | A15 |  | N/A | N/A
FALSE | H0 | VH0 | M0 | L0 | TBC14 | A16 |  | N/A | N/A

## Unanswered_Questions
Private Water Supply: Risk Assessment Tool This sheet may be printed and taken to site to use as a guide and a reminder sheet for questions to ask following your desktop study. Any questions already answered will not appear, however any comments for reminders and notes you put in on the risk assessment tab will appear here for reference.
TBC | Local Authority: Supply Reference:
Supply Name & Address:
Risk No. | Unanswered question | Likelihood | Severity | Comments
A0 | Have there been any changes since risk assessment last carried out? |  |  | 0 | TBC1 | 1
A1 | Is there a site plan and/or schematic showing location of source, chambers, tanks, distribution network including valves, pipes, consumer premises etc.? |  |  | 0 | TBC2 | 2
A2 | Are there any procedures and/or written records for the supply (i.e. for checks, monitoring or maintenance, etc.)? |  |  | 0 | TBC3 | 3
A3 | Are there any manufacturers' instructions for the equipment on the supply? |  |  | 0 | TBC4 | 4
A4 | Is there an emergency plan for the provision of an alternative water supply? |  |  | 0 | TBC5 | 5
A5 | Has the owner or operators had appropriate training for the supply? |  |  | 0 | TBC6 | 6
A6 | Does the sampling history identify the presence of any hazards? |  |  | 0 | TBC7 | 7
A7 | Is there a documented contingency plan for periods of insufficiency? |  |  | 0 | TBC8 | 8
A8 | Is there a documented contingency plan in the event of power failure, equipment failure? |  |  | 0 | TBC9 | 9
A9 | Is there a person or company nominated as having control of the supply? |  |  | 0 | TBC10 | 10
A10 | Is any storage of water appropriately sized |  |  | 0 | TBC11 | 11
A11 | are storage tanks covered and protected from ingress? |  |  | 0 | TBC12 | 12
A12 | does pipework go straight from source to cistern (ie no connections to other systems or taps) |  |  | 0 | TBC13 | 13
A13 | Are there concerns about the quality of source based on sample data |  |  | 0 | TBC14 | 14
|  |  |  | #REF! | TBC15 | 15
|  |  |  | #REF! | TBC16 | 16
|  |  |  | #REF! | TBC17 | 17
|  |  |  | #REF! | TBC18 | 18
|  |  |  | #REF! | TBC19 | 19
|  |  |  | #REF! | TBC20 | 20
|  |  |  | #REF! | TBC21 | 21
|  |  |  | #REF! | TBC22 | 22
|  |  |  | #REF! | TBC23 | 23
|  |  |  | #REF! | TBC24 | 24
|  |  |  | #REF! | TBC25 | 25
|  |  |  | #REF! | TBC26 | 26
|  |  |  | #REF! | TBC27 | 27
|  |  |  | #REF! | TBC28 | 28
|  |  |  | #REF! | TBC29 | 29
|  |  |  | #REF! | TBC30 | 30
|  |  |  | #REF! | TBC31 | 31
|  |  |  | #REF! | TBC32 | 32
|  |  |  | #REF! | TBC33 | 33
|  |  |  | #REF! | TBC34 | 34
|  |  |  | #REF! | TBC35 | 35
|  |  |  | #REF! | TBC36 | 36
|  |  |  | #REF! | TBC37 | 37
|  |  |  | #REF! | TBC38 | 38
|  |  |  | #REF! | TBC39 | 39
|  |  |  | #REF! | TBC40 | 40
|  |  |  | #REF! | TBC41 | 41
|  |  |  | #REF! | TBC42 | 42
|  |  |  | #REF! | TBC43 | 43
|  |  |  | #REF! | TBC44 | 44
|  |  |  | #REF! | TBC45 | 45
|  |  |  | #REF! | TBC46 | 46
|  |  |  | #REF! | TBC47 | 47
|  |  |  | #REF! | TBC48 | 48
|  |  |  | #REF! | TBC49 | 49
|  |  |  | #REF! | TBC50 | 50
|  |  |  | #REF! | TBC51 | 51
|  |  |  | #REF! | TBC52 | 52
|  |  |  | #REF! | TBC53 | 53
|  |  |  | #REF! | TBC54 | 54
|  |  |  | #REF! | TBC55 | 55
|  |  |  | #REF! | TBC56 | 56
|  |  |  | #REF! | TBC57 | 57
|  |  |  | #REF! | TBC58 | 58
|  |  |  | #REF! | TBC59 | 59
|  |  |  | #REF! | TBC60 | 60
|  |  |  | #REF! | TBC61 | 61
|  |  |  | #REF! | TBC62 | 62
|  |  |  | #REF! | TBC63 | 63
|  |  |  | #REF! | TBC64 | 64
|  |  |  | #REF! | TBC65 | 65
|  |  |  | #REF! | TBC66 | 66
|  |  |  | #REF! | TBC67 | 67
|  |  |  | #REF! | TBC68 | 68
|  |  |  | #REF! | TBC69 | 69
|  |  |  | #REF! | TBC70 | 70
|  |  |  | #REF! | TBC71 | 71
|  |  |  | #REF! | TBC72 | 72
|  |  |  | #REF! | TBC73 | 73
|  |  |  | #REF! | TBC74 | 74
|  |  |  | #REF! | TBC75 | 75
|  |  |  | #REF! | TBC76 | 76
|  |  |  | #REF! | TBC77 | 77
|  |  |  | #REF! | TBC78 | 78
|  |  |  | #REF! | TBC79 | 79
|  |  |  | #REF! | TBC80 | 80
|  |  |  | #REF! | TBC81 | 81
|  |  |  | #REF! | TBC82 | 82
|  |  |  | #REF! | TBC83 | 83
|  |  |  | #REF! | TBC84 | 84
|  |  |  | #REF! | TBC85 | 85
|  |  |  | #REF! | TBC86 | 86
|  |  |  | #REF! | TBC87 | 87
|  |  |  | #REF! | TBC88 | 88
|  |  |  | #REF! | TBC89 | 89
|  |  |  | #REF! | TBC90 | 90
|  |  |  | #REF! | TBC91 | 91
|  |  |  | #REF! | TBC92 | 92
|  |  |  | #REF! | TBC93 | 93
|  |  |  | #REF! | TBC94 | 94
|  |  |  | #REF! | TBC95 | 95
|  |  |  | #REF! | TBC96 | 96
|  |  |  | #REF! | TBC97 | 97
|  |  |  | #REF! | TBC98 | 98
|  |  |  | #REF! | TBC99 | 99
|  |  |  | #REF! | TBC100 | 100
|  |  |  | #REF! | TBC101 | 101
|  |  |  | #REF! | TBC102 | 102
|  |  |  | #REF! | TBC103 | 103
|  |  |  | #REF! | TBC104 | 104
|  |  |  | #REF! | TBC105 | 105
|  |  |  | #REF! | TBC106 | 106
|  |  |  | #REF! | TBC107 | 107
|  |  |  | #REF! | TBC108 | 108
|  |  |  | #REF! | TBC109 | 109
|  |  |  | #REF! | TBC110 | 110
|  |  |  | #REF! | TBC111 | 111
|  |  |  | #REF! | TBC112 | 112
|  |  |  | #REF! | TBC113 | 113
|  |  |  | #REF! | TBC114 | 114
|  |  |  | #REF! | TBC115 | 115
|  |  |  | #REF! | TBC116 | 116
|  |  |  | #REF! | TBC117 | 117
|  |  |  | #REF! | TBC118 | 118
|  |  |  | #REF! | TBC119 | 119
|  |  |  | #REF! | TBC120 | 120
|  |  |  | #REF! | TBC121 | 121
|  |  |  | #REF! | TBC122 | 122
|  |  |  | #REF! | TBC123 | 123
|  |  |  | #REF! | TBC124 | 124
|  |  |  | #REF! | TBC125 | 125
|  |  |  | #REF! | TBC126 | 126
|  |  |  | #REF! | TBC127 | 127
|  |  |  | #REF! | TBC128 | 128
|  |  |  | #REF! | TBC129 | 129
|  |  |  | #REF! | TBC130 | 130
|  |  |  | #REF! | TBC131 | 131
|  |  |  | #REF! | TBC132 | 132
|  |  |  | #REF! | TBC133 | 133
|  |  |  | #REF! | TBC134 | 134
|  |  |  | #REF! | TBC135 | 135
|  |  |  | #REF! | TBC136 | 136
|  |  |  | #REF! | TBC137 | 137
|  |  |  | #REF! | TBC138 | 138
|  |  |  | #REF! | TBC139 | 139
|  |  |  | #REF! | TBC140 | 140
|  |  |  | #REF! | TBC141 | 141
|  |  |  | #REF! | TBC142 | 142
|  |  |  | #REF! | TBC143 | 143
|  |  |  | #REF! | TBC144 | 144
|  |  |  | #REF! | TBC145 | 145
|  |  |  | #REF! | TBC146 | 146
|  |  |  | #REF! | TBC147 | 147
|  |  |  | #REF! | TBC148 | 148
|  |  |  | #REF! | TBC149 | 149
|  |  |  | #REF! | TBC150 | 150
|  |  |  | #REF! | TBC151 | 151
|  |  |  | #REF! | TBC152 | 152
|  |  |  | #REF! | TBC153 | 153
|  |  |  | #REF! | TBC154 | 154
|  |  |  | #REF! | TBC155 | 155
|  |  |  | #REF! | TBC156 | 156
|  |  |  | #REF! | TBC157 | 157
|  |  |  | #REF! | TBC158 | 158
|  |  |  | #REF! | TBC159 | 159
|  |  |  | #REF! | TBC160 | 160
|  |  |  | #REF! | TBC161 | 161
|  |  |  | #REF! | TBC162 | 162
|  |  |  | #REF! | TBC163 | 163
|  |  |  | #REF! | TBC164 | 164
|  |  |  | #REF! | TBC165 | 165
|  |  |  | #REF! | TBC166 | 166
|  |  |  | #REF! | TBC167 | 167
|  |  |  | #REF! | TBC168 | 168
|  |  |  | #REF! | TBC169 | 169
|  |  |  | #REF! | TBC170 | 170
|  |  |  | #REF! | TBC171 | 171
|  |  |  | #REF! | TBC172 | 172
|  |  |  | #REF! | TBC173 | 173
|  |  |  | #REF! | TBC174 | 174
|  |  |  | #REF! | TBC175 | 175
|  |  |  | #REF! | TBC176 | 176
|  |  |  | #REF! | TBC177 | 177
|  |  |  | #REF! | TBC178 | 178
|  |  |  | #REF! | TBC179 | 179
|  |  |  | #REF! | TBC180 | 180
|  |  |  | #REF! | TBC181 | 181
|  |  |  | #REF! | TBC182 | 182
|  |  |  | #REF! | TBC183 | 183
|  |  |  | #REF! | TBC184 | 184
|  |  |  | #REF! | TBC185 | 185
|  |  |  | #REF! | TBC186 | 186
|  |  |  | #REF! | TBC187 | 187
|  |  |  | #REF! | TBC188 | 188
|  |  |  | #REF! | TBC189 | 189
|  |  |  | #REF! | TBC190 | 190
|  |  |  | #REF! | TBC191 | 191
|  |  |  | #REF! | TBC192 | 192
|  |  |  | #REF! | TBC193 | 193
|  |  |  | #REF! | TBC194 | 194
|  |  |  | #REF! | TBC195 | 195
|  |  |  | #REF! | TBC196 | 196
|  |  |  | #REF! | TBC197 | 197
|  |  |  | #REF! | TBC198 | 198
|  |  |  | #REF! | TBC199 | 199
|  |  |  | #REF! | TBC200 | 200
|  |  |  | #REF! | TBC201 | 201
|  |  |  | #REF! | TBC202 | 202
|  |  |  | #REF! | TBC203 | 203
|  |  |  | #REF! | TBC204 | 204
|  |  |  | #REF! | TBC205 | 205
|  |  |  | #REF! | TBC206 | 206
|  |  |  | #REF! | TBC207 | 207
|  |  |  | #REF! | TBC208 | 208

## Risk_Register
Private Water Supply: Risk Assessment Register Guidance: Select your risk level
Risk level: | TBC | Local Authority: Supply Reference: |  |  |  |  | VH | Very High Risk
To Be confirmed |  | Supply Name & Address: |  |  |  |  | H | High Risk
Risk | Risk No. | Hazard Description | Likelihood | Severity |  |  | M | Medium Risk
TBC | A0 | Have there been any changes since risk assessment last carried out? | 5 | 0 | TBC1 | 1 | L | Low Risk
TBC | A1 | Is there a site plan and/or schematic showing location of source, chambers, tanks, distribution network including valves, pipes, consumer premises etc.? | 5 | 5 | TBC2 | 2 | TBC | To Be confirmed
TBC | A2 | Are there any procedures and/or written records for the supply (i.e. for checks, monitoring or maintenance, etc.)? | 5 | 5 | TBC3 | 3
TBC | A3 | Are there any manufacturers' instructions for the equipment on the supply? | 5 | 5 | TBC4 | 4
TBC | A4 | Is there an emergency plan for the provision of an alternative water supply? | 5 | 5 | TBC5 | 5
TBC | A5 | Has the owner or operators had appropriate training for the supply? | 5 | 5 | TBC6 | 6
TBC | A6 | Does the sampling history identify the presence of any hazards? | 5 | 5 | TBC7 | 7
TBC | A7 | Is there a documented contingency plan for periods of insufficiency? | 5 | 5 | TBC8 | 8
TBC | A8 | Is there a documented contingency plan in the event of power failure, equipment failure? | 5 | 5 | TBC9 | 9
TBC | A9 | Is there a person or company nominated as having control of the supply? | 5 | 5 | TBC10 | 10
TBC | A10 | Is any storage of water appropriately sized | 5 | 5 | TBC11 | 11
TBC | A11 | are storage tanks covered and protected from ingress? | 5 | 5 | TBC12 | 12
TBC | A12 | does pipework go straight from source to cistern (ie no connections to other systems or taps) | 5 | 5 | TBC13 | 13
TBC | A13 | Are there concerns about the quality of source based on sample data | 5 | 5 | TBC14 | 14
[5 empty] | TBC15 | 15
[5 empty] | TBC16 | 16
[5 empty] | TBC17 | 17
[5 empty] | TBC18 | 18
[5 empty] | TBC19 | 19
[5 empty] | TBC20 | 20
[5 empty] | TBC21 | 21
[5 empty] | TBC22 | 22
[5 empty] | TBC23 | 23
[5 empty] | TBC24 | 24
[5 empty] | TBC25 | 25
[5 empty] | TBC26 | 26
[5 empty] | TBC27 | 27
[5 empty] | TBC28 | 28
[5 empty] | TBC29 | 29
[5 empty] | TBC30 | 30
[5 empty] | TBC31 | 31
[5 empty] | TBC32 | 32
[5 empty] | TBC33 | 33
[5 empty] | TBC34 | 34
[5 empty] | TBC35 | 35
[5 empty] | TBC36 | 36
[5 empty] | TBC37 | 37
[5 empty] | TBC38 | 38
[5 empty] | TBC39 | 39
[5 empty] | TBC40 | 40
[5 empty] | TBC41 | 41
[5 empty] | TBC42 | 42
[5 empty] | TBC43 | 43
[5 empty] | TBC44 | 44
[5 empty] | TBC45 | 45
[5 empty] | TBC46 | 46
[5 empty] | TBC47 | 47
[5 empty] | TBC48 | 48
[5 empty] | TBC49 | 49
[5 empty] | TBC50 | 50
[5 empty] | TBC51 | 51
[5 empty] | TBC52 | 52
[5 empty] | TBC53 | 53
[5 empty] | TBC54 | 54
[5 empty] | TBC55 | 55
[5 empty] | TBC56 | 56
[5 empty] | TBC57 | 57
[5 empty] | TBC58 | 58
[5 empty] | TBC59 | 59
[5 empty] | TBC60 | 60
[5 empty] | TBC61 | 61
[5 empty] | TBC62 | 62
[5 empty] | TBC63 | 63
[5 empty] | TBC64 | 64
[5 empty] | TBC65 | 65
[5 empty] | TBC66 | 66
[5 empty] | TBC67 | 67
[5 empty] | TBC68 | 68
[5 empty] | TBC69 | 69
[5 empty] | TBC70 | 70
[5 empty] | TBC71 | 71
[5 empty] | TBC72 | 72
[5 empty] | TBC73 | 73
[5 empty] | TBC74 | 74
[5 empty] | TBC75 | 75
[5 empty] | TBC76 | 76
[5 empty] | TBC77 | 77
[5 empty] | TBC78 | 78
[5 empty] | TBC79 | 79
[5 empty] | TBC80 | 80
[5 empty] | TBC81 | 81
[5 empty] | TBC82 | 82
[5 empty] | TBC83 | 83
[5 empty] | TBC84 | 84
[5 empty] | TBC85 | 85
[5 empty] | TBC86 | 86
[5 empty] | TBC87 | 87
[5 empty] | TBC88 | 88
[5 empty] | TBC89 | 89
[5 empty] | TBC90 | 90
[5 empty] | TBC91 | 91
[5 empty] | TBC92 | 92
[5 empty] | TBC93 | 93
[5 empty] | TBC94 | 94
[5 empty] | TBC95 | 95
[5 empty] | TBC96 | 96
[5 empty] | TBC97 | 97
[5 empty] | TBC98 | 98
[5 empty] | TBC99 | 99
[5 empty] | TBC100 | 100
[5 empty] | TBC101 | 101
[5 empty] | TBC102 | 102
[5 empty] | TBC103 | 103
[5 empty] | TBC104 | 104
[5 empty] | TBC105 | 105
[5 empty] | TBC106 | 106
[5 empty] | TBC107 | 107
[5 empty] | TBC108 | 108
[5 empty] | TBC109 | 109
[5 empty] | TBC110 | 110
[5 empty] | TBC111 | 111
[5 empty] | TBC112 | 112
[5 empty] | TBC113 | 113
[5 empty] | TBC114 | 114
[5 empty] | TBC115 | 115
[5 empty] | TBC116 | 116
[5 empty] | TBC117 | 117
[5 empty] | TBC118 | 118
[5 empty] | TBC119 | 119
[5 empty] | TBC120 | 120
[5 empty] | TBC121 | 121
[5 empty] | TBC122 | 122
[5 empty] | TBC123 | 123
[5 empty] | TBC124 | 124
[5 empty] | TBC125 | 125
[5 empty] | TBC126 | 126
[5 empty] | TBC127 | 127
[5 empty] | TBC128 | 128
[5 empty] | TBC129 | 129
[5 empty] | TBC130 | 130
[5 empty] | TBC131 | 131
[5 empty] | TBC132 | 132
[5 empty] | TBC133 | 133
[5 empty] | TBC134 | 134
[5 empty] | TBC135 | 135
[5 empty] | TBC136 | 136
[5 empty] | TBC137 | 137
[5 empty] | TBC138 | 138
[5 empty] | TBC139 | 139
[5 empty] | TBC140 | 140
[5 empty] | TBC141 | 141
[5 empty] | TBC142 | 142
[5 empty] | TBC143 | 143
[5 empty] | TBC144 | 144
[5 empty] | TBC145 | 145
[5 empty] | TBC146 | 146
[5 empty] | TBC147 | 147
[5 empty] | TBC148 | 148
[5 empty] | TBC149 | 149
[5 empty] | TBC150 | 150
[5 empty] | TBC151 | 151
[5 empty] | TBC152 | 152
[5 empty] | TBC153 | 153
[5 empty] | TBC154 | 154
[5 empty] | TBC155 | 155
[5 empty] | TBC156 | 156
[5 empty] | TBC157 | 157
[5 empty] | TBC158 | 158
[5 empty] | TBC159 | 159
[5 empty] | TBC160 | 160
[5 empty] | TBC161 | 161
[5 empty] | TBC162 | 162
[5 empty] | TBC163 | 163
[5 empty] | TBC164 | 164
[5 empty] | TBC165 | 165
[5 empty] | TBC166 | 166
[5 empty] | TBC167 | 167
[5 empty] | TBC168 | 168
[5 empty] | TBC169 | 169
[5 empty] | TBC170 | 170
[5 empty] | TBC171 | 171
[5 empty] | TBC172 | 172
[5 empty] | TBC173 | 173
[5 empty] | TBC174 | 174
[5 empty] | TBC175 | 175
[5 empty] | TBC176 | 176
[5 empty] | TBC177 | 177
[5 empty] | TBC178 | 178
[5 empty] | TBC179 | 179
[5 empty] | TBC180 | 180
[5 empty] | TBC181 | 181
[5 empty] | TBC182 | 182
[5 empty] | TBC183 | 183
[5 empty] | TBC184 | 184
[5 empty] | TBC185 | 185
[5 empty] | TBC186 | 186
[5 empty] | TBC187 | 187
[5 empty] | TBC188 | 188
[5 empty] | TBC189 | 189
[5 empty] | TBC190 | 190
[5 empty] | TBC191 | 191
[5 empty] | TBC192 | 192
[5 empty] | TBC193 | 193
[5 empty] | TBC194 | 194
[5 empty] | TBC195 | 195
[5 empty] | TBC196 | 196
[5 empty] | TBC197 | 197
[5 empty] | TBC198 | 198
[5 empty] | TBC199 | 199
[5 empty] | TBC200 | 200
[5 empty] | TBC201 | 201
[5 empty] | TBC202 | 202
[5 empty] | TBC203 | 203
[5 empty] | TBC204 | 204
[5 empty] | TBC205 | 205
[5 empty] | TBC206 | 206
[5 empty] | TBC207 | 207
[5 empty] | TBC208 | 208

## Risk_Assessment_Report
Private Water Supply: Risk Assessment Report
Local Authority: |  |  | Supply Reference:
Supply Name & Address: |  |  | 0
Risk number and description |  |  | Due date | Action Owner | Risk mitigation actions required
Main Risk | #N/A | #N/A | 0 | Enter name or initials | Description of the actions required to mitigate the risks
Main Risk | #N/A | #N/A | 0 | Enter name or initials | Description of the actions required to mitigate the risks
Main Risk | #N/A | #N/A | 0 | Enter name or initials | Description of the actions required to mitigate the risks
Main Risk | #N/A | #N/A | 0 | Enter name or initials | Description of the actions required to mitigate the risks
Ref | Hazard | Answer | Risk | Guidance
A0 | Have there been any changes since risk assessment last carried out? | TBC - No risk | TBC | Any changes to the equipment, ownership or management should result is a 'Yes' Please use the severity option to determine if these changes are an improvement or deterioration
A1 | Is there a site plan and/or schematic showing location of source, chambers, tanks, distribution network including valves, pipes, consumer premises etc.? | TBC - No risk | TBC | A site plan or schematic can be a simple sketch through to a complex engineering drawing depending on the size of the supply. It need not be to scale or include internal domestic plumbing arrangements, but should represent the main components of the supply system. It is essential to understand the layout of the water supply system in order to understand the flow of water from source to tap, and how it is managed and monitored, e.g.by valves, meters and other management devices. If no schematic or site plan is present, risk assessment of the site is difficult if not impossible to achieve. If not present the likelihood should be scored as 5, the person in control should be requested to make arrangements to draw up plans showing any valves, meters, hydrants etc as part of the action plan
A2 | Are there any procedures and/or written records for the supply (i.e. for checks, monitoring or maintenance, etc.)? | TBC - No risk | TBC | An absence of written procedures places reliance on specific individuals, who may not always be available to operate the supply system. Procedures provide a reference for operators and ensure a consistent approach. Records of maintenance and monitoring checks provide a management audit trail, which demonstrate how well a supply is being managed and its performing. If these are absent the person in control should be required to implement them.
A3 | Are there any manufacturers' instructions for the equipment on the supply? | TBC - No risk | TBC | The presence of manufacturers' instructions for key equipment (e.g. pumps, treatment processes, dosing systems, monitors) provides an essential reference for operators and provides a record of equipment requirements as designed. Where any instructions are absent, they should be sought as part of the action plan.
A4 | Is there an emergency plan for the provision of an alternative water supply? | TBC - No risk | TBC | Loss of supplies can occur for a variety of reasons, which are often unforeseen. Contingency measures to provide alternative supplies should be documented as written procedures to ensure that the relevant people can reference what to do under these circumstances.DWI have provided guidance on the provision of alternative supplies, which can be obtained from their website. Persons in control should demonstrate that procedures are in place.
A5 | Has the owner or operators had appropriate training for the supply? | TBC - No risk | TBC | Operators should be competent in the operation of the supply system they are managing, and have an understanding of the need to apply sound hygienic practice. A lack of competency and/or hygiene awareness presents a risk of contamination of the supply. The risk assessor must determine what and when training has been undertaken, and whether it is appropriate. For a complex treatment system such as chlorination or chlorine dioxide disinfection a formal training course maybe required, whereas for a UV system informal training form the supplier with written procedures could be appropriate. This can be achieved through dialogue and evidence through certification or other written records. A judgement as to whether deficiencies present a risk must be made and relevant advice provided.
A6 | Does the sampling history identify the presence of any hazards? | TBC - No risk | TBC | Is the supply sampled, excluding regulatory LA sampling, (i.e. operational)? Confirm what parameters the sample is analysed for and what are the results? Determine if this sampling has identified the presence of any particular hazards which should inform the risk assessment.
A7 | Is there a documented contingency plan for periods of insufficiency? | TBC - No risk | TBC | Insufficiency caused by low levels of stored water may result in for example (not an exhaustive list) increased algal population (due to increased temperature and sunlight), limescale deposits in ground water, sludge, metal concentrations and reduced oxygen levels. The insufficiency of supplies is a hazard in itself, additionally there are hazards associated with the water levels recharging or replenishing such as increased turbidity, nitrates, pesticides, or cryptosporidium from run-off. a contingency plan for insufficiency should be in place
A8 | Is there a documented contingency plan in the event of power failure, equipment failure? | TBC - No risk | TBC | Does the site have a back up generator if required? Where an alternate power supply is not present; what contingency is in place for the provision of alternate supplies of water?
A9 | Is there a person or company nominated as having control of the supply? | TBC - No risk | TBC | The supply should have a relevant person nominated as being responsible for the supply. This may be an individual or it may be a management company.
A10 | Is any storage of water appropriately sized | TBC - No risk | TBC | The size of the tank should be proportional to demand. Water which remains standing for any length of time in a holding structure will deteriorate to varying degrees depending on the conditions it is exposed to. The level of the water within the reservoir/tank should therefore rise and fall at intervals throughout each day facilitating the constant input of fresh water to the structure. As a guide in raw water storage tanks, the water should be turned over (replenished due to use) every 7 days to avoid taste and odour issues and microbial or biofilm growth. Ask the owner to what extent the water is used on a daily basis and whether the capacity matches the demand, i.e. If the tank is too small then there may be a risk of insufficiency or if the tank is too large water may stand for long periods due to low demand.
A11 | are storage tanks covered and protected from ingress? | TBC - No risk | TBC | The level of protection for all intermediate tanks or similar structures should be equivalent to that recommended for the source itself as the potential for contamination to enter the system via such intermediate points is just as high as for the source itself.
A12 | does pipework go straight from source to cistern (ie no connections to other systems or taps) | TBC - No risk | TBC | contamination of other supplies is less likely if pipework goes straight from the source to the cistern (this includes via dedicated storage tanks).
A13 | Are there concerns about the quality of source based on sample data | TBC - No risk | TBC | sampling data may indicate issues with source water quality. It may also highlight where source water is being drawn from areas influenced by the discharge of the toilet.
A14 | 0 |  | 0 |  | 0
A15 | 0 |  | 0 |  | 0
A16 | 0 |  | 0 |  | 0
0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0
0 | 0 |  | 0 |  | 0

## Controls_&_Actions
Private Water Supply Risk Assessment - Action Plan
Local Authority: |  | Supply Reference:
Supply Name & Address: |  | 0
Assessor: | Name & Position | Revision
Scope of Hazards: | Brief descriptions of the issues
Conclusion: | Once all actions have been completed what is the status of the Private Supply
Overall supply risk classification
Highest mitigated rating:
Final rating:
Risk No: | Hazard Description
Action plan 1
Main Risk | #N/A
Associated risks | #N/A | #N/A | #N/A
Description of risk root cause | Enter Description
Current mitigation in place | Overtype or select from dropdown list of standard mitigation measures
Additional mitigation Required | Description of the actions required to mitigate the risks
Verification of actions following completion
Deadline for completion |  | Action Owner | Enter name or initials
Status of Actions |  | Mitigated risk ranking
Action plan 2
Main Risk | #N/A
Associated risks | #N/A | #N/A | #N/A
Description of risk root cause | Enter Description
Current mitigation in place | Overtype or select from dropdown list of standard mitigation measures
Additional mitigation Required | Description of the actions required to mitigate the risks
Verification of actions following completion
Deadline for completion |  | Action Owner | Enter name or initials
Status of Actions |  | Mitigated risk ranking
Action plan 3
Main Risk | #N/A
Associated risks | #N/A | #N/A | #N/A
Description of risk root cause | Enter Description
Current mitigation in place | Overtype or select from dropdown list of standard mitigation measures
Additional mitigation Required | Description of the actions required to mitigate the risks
Verification of actions following completion
Deadline for completion |  | Action Owner | Enter name or initials
Status of Actions |  | Mitigated risk ranking
Action plan 4
Main Risk | #N/A
Associated risks | #N/A | #N/A | #N/A
Description of risk root cause | Enter Description
Current mitigation in place | Overtype or select from dropdown list of standard mitigation measures
Additional mitigation Required | Description of the actions required to mitigate the risks
Verification of actions following completion
Deadline for completion |  | Action Owner | Enter name or initials
Status of Actions |  | Mitigated risk ranking

## Outstanding_actions_summary
Private Water Supply Risk Assessment - Summary
Select all cells; copy and paste into an email and return to DWI.Enquiries@defra.gsi.gov.uk
Local Authority: |  |  | Supply Reference:
Supply Name & Address:
Assessor: Name & Position
Status of supply before mitigation actions are undertaken
Risk rating: |  | 0
0 | Toilet flushing | 0
Outstanding actions
Description of risk root cause | Risk categories | Remedial actions required to improve the supply |  | Action Owner | Deadline for completion of actions
Enter Description | Main Risk, Associated risks | Description of the actions required to mitigate the risks |  | Enter name or initials | 0
Enter Description | Main Risk, Associated risks | Description of the actions required to mitigate the risks |  | Enter name or initials | 0
Enter Description | Main Risk, Associated risks | Description of the actions required to mitigate the risks |  | Enter name or initials | 0
Enter Description | Main Risk, Associated risks | Description of the actions required to mitigate the risks |  | Enter name or initials | 0

## Lookup Admin (hidden)
Risk No. | Hazard when: | Severity | Hazard Description |  | Guidance | Risk | V2.03 |  |  | Local Authorities | Risk Mitigation | Current mitigation
A0 | Yes |  | Have there been any changes since risk assessment last carried out? | TBC | Any changes to the equipment, ownership or management should result is a 'Yes' Please use the severity option to determine if these changes are an improvement or deterioration | TBC | No risk |  |  |  | Description of the actions required to mitigate the risks | Overtype or select from dropdown list of standard mitigation measures
A1 | No | 5 | Is there a site plan and/or schematic showing location of source, chambers, tanks, distribution network including valves, pipes, consumer premises etc.? | TBC | A site plan or schematic can be a simple sketch through to a complex engineering drawing depending on the size of the supply. It need not be to scale or include internal domestic plumbing arrangements, but should represent the main components of the supply system. It is essential to understand the layout of the water supply system in order to understand the flow of water from source to tap, and how it is managed and monitored, e.g.by valves, meters and other management devices. If no schematic or site plan is present, risk assessment of the site is difficult if not impossible to achieve. If not present the likelihood should be scored as 5, the person in control should be requested to make arrangements to draw up plans showing any valves, meters, hydrants etc as part of the action plan | TBC | No risk |  |  | Adur District Council | Install monitors linked to either alarms or automatic shut off devices to ensure treatment systems are effective. | Monitors installed which are linked to either alarms or automatic shut off devices to ensure treatment systems are effective.
A2 | No | 5 | Are there any procedures and/or written records for the supply (i.e. for checks, monitoring or maintenance, etc.)? | TBC | An absence of written procedures places reliance on specific individuals, who may not always be available to operate the supply system. Procedures provide a reference for operators and ensure a consistent approach. Records of maintenance and monitoring checks provide a management audit trail, which demonstrate how well a supply is being managed and its performing. If these are absent the person in control should be required to implement them. | TBC | No risk |  |  | Allerdale Borough Council | Install additional filters or carbon filter (GAC) to remove discolouration and additional sand or fabric filter to remove physical particulates. | Additional filters or carbon filter (GAC) present designed to remove discolouration. Additional sand or fabric filter to remove physical particulates.
A3 | Yes | 5 | Are there any manufacturers' instructions for the equipment on the supply? | TBC | The presence of manufacturers' instructions for key equipment (e.g. pumps, treatment processes, dosing systems, monitors) provides an essential reference for operators and provides a record of equipment requirements as designed. Where any instructions are absent, they should be sought as part of the action plan. | TBC | No risk |  |  | Amber Valley Borough Council | Disinfect and/or flush the supply at an appropriate rate and frequency if there is evidence of sediment/biofilm or particulates in the supply system. | Maintenance and service records are being kept and suitable procedures exist for all aspects of the supply and distribution system
A4 | No | 5 | Is there an emergency plan for the provision of an alternative water supply? | TBC | Loss of supplies can occur for a variety of reasons, which are often unforeseen. Contingency measures to provide alternative supplies should be documented as written procedures to ensure that the relevant people can reference what to do under these circumstances.DWI have provided guidance on the provision of alternative supplies, which can be obtained from their website. Persons in control should demonstrate that procedures are in place. | TBC | No risk |  |  | Arun District Council | Produce/complete/update schematic of the layout of all installed treatment systems, shut off devices and filters. | Security arrangements installed to prevent unauthorised access
A5 | Yes | 5 | Has the owner or operators had appropriate training for the supply? | TBC | Operators should be competent in the operation of the supply system they are managing, and have an understanding of the need to apply sound hygienic practice. A lack of competency and/or hygiene awareness presents a risk of contamination of the supply. The risk assessor must determine what and when training has been undertaken, and whether it is appropriate. For a complex treatment system such as chlorination or chlorine dioxide disinfection a formal training course maybe required, whereas for a UV system informal training form the supplier with written procedures could be appropriate. This can be achieved through dialogue and evidence through certification or other written records. A judgement as to whether deficiencies present a risk must be made and relevant advice provided. | TBC | No risk |  |  | Ashfield District Council | Implement method of logging all service and maintenance of equipment and structures (pipes to tanks etc). | Protection from wildlife and/or livestock contamination
A6 | No | 5 | Does the sampling history identify the presence of any hazards? | TBC | Is the supply sampled, excluding regulatory LA sampling, (i.e. operational)? Confirm what parameters the sample is analysed for and what are the results? Determine if this sampling has identified the presence of any particular hazards which should inform the risk assessment. | TBC | No risk | Treatment stages |  | Ashford Borough Council | Install appropriate security arrangements to prevent unauthorised access | Tank cleaning programme
A7 | No | 5 | Is there a documented contingency plan for periods of insufficiency? | TBC | Insufficiency caused by low levels of stored water may result in for example (not an exhaustive list) increased algal population (due to increased temperature and sunlight), limescale deposits in ground water, sludge, metal concentrations and reduced oxygen levels. The insufficiency of supplies is a hazard in itself, additionally there are hazards associated with the water levels recharging or replenishing such as increased turbidity, nitrates, pesticides, or cryptosporidium from run-off. a contingency plan for insufficiency should be in place | TBC | No risk | Filtration (sand/GAC) |  | Aylesbury Vale District Council | Put in place suitable protection from wildlife and/or livestock | Storage of chemicals, fertilisers, pesticides (including the location of sheep dips) or fuel is restricted in the vicinity of the source (450m).
A8 | No | 5 | Is there a documented contingency plan in the event of power failure, equipment failure? | TBC | Does the site have a back up generator if required? Where an alternate power supply is not present; what contingency is in place for the provision of alternate supplies of water? | TBC | No risk | Membrane filtration |  | Babergh District Council | Implement regular tank cleaning programme | Diversion channels, ditches or bunding to divert flow away from the vicinity of the source. Include regular checks and maintenance.
A9 | No | 5 | Is there a person or company nominated as having control of the supply? | TBC | The supply should have a relevant person nominated as being responsible for the supply. This may be an individual or it may be a management company. | TBC | No risk | Desalination or reverse osmosis |  | Barking and Dagenham | Restrict storage of chemicals, fertilisers, pesticides (including the location of sheep dips) or fuel from the vicinity of the source (450m). | Oil or fuel stores are adequately bunded and marked on the site schematic.
A10 | No | 5 | Is any storage of water appropriately sized | TBC | The size of the tank should be proportional to demand. Water which remains standing for any length of time in a holding structure will deteriorate to varying degrees depending on the conditions it is exposed to. The level of the water within the reservoir/tank should therefore rise and fall at intervals throughout each day facilitating the constant input of fresh water to the structure. As a guide in raw water storage tanks, the water should be turned over (replenished due to use) every 7 days to avoid taste and odour issues and microbial or biofilm growth. Ask the owner to what extent the water is used on a daily basis and whether the capacity matches the demand, i.e. If the tank is too small then there may be a risk of insufficiency or if the tank is too large water may stand for long periods due to low demand. | TBC | No risk | UV disinfection |  | Barnet | Identify likely risks and carry out any additional monitoring (sampling) required to confirm | Slurry spreading or slurry lagoon is restricted within 50metres from the source following Environmental Regulations enforced by the Environmental Agency.
A11 | No | 5 | are storage tanks covered and protected from ingress? | TBC | The level of protection for all intermediate tanks or similar structures should be equivalent to that recommended for the source itself as the potential for contamination to enter the system via such intermediate points is just as high as for the source itself. | TBC | No risk | Chlorine disinfection |  | Barnsley Metropolitan Borough Council | Install diversion channels, ditches or bunding to divert flow away from the vicinity of the source. Include regular checks and maintenance. | Backflow protection is installed
A12 | No | 5 | does pipework go straight from source to cistern (ie no connections to other systems or taps) | TBC | contamination of other supplies is less likely if pipework goes straight from the source to the cistern (this includes via dedicated storage tanks). | TBC | No risk | Untreated |  | Barrow-in-Furness Borough Council | Install additional treatment systems or blend water supply to ensure compliance with the regulatory standard. | Equipment is protected from flooding
A13 | Yes | 5 | Are there concerns about the quality of source based on sample data | TBC | sampling data may indicate issues with source water quality. It may also highlight where source water is being drawn from areas influenced by the discharge of the toilet. | TBC | No risk | Unknown |  | Basildon District Council | Implement a means of logging all servicing and maintenance of equipment and structures (pipes, tanks etc) | Procedures exist around the purchase of approved treatment chemicals, their delivery, handling and use.
A14 | Yes |  |  | N/A |  |  |  | Other (details) |  | Basingstoke & Deane Borough Council | Ensure oil or fuel stores are adequate i.e. double skinned, bunded and marked on the site schematic. | Auto shutdown systems exist
A15 | Yes |  |  | N/A | [5 empty] | Bassetlaw Borough Council | Install appropriate treatment which is validated for the supply. | Contingency plan in place should the normal source be unavailable
A16 | Yes |  |  | N/A |  |  |  | Action status |  | Bath & North East Somerset District Council | Carry out a site inspection to check for evidence of seepage from broken waste pipes or blocked soakaways i.e. marshy vegetation or ponding. Identify the cause and undertake the appropriate remedial measures ensuring these works comply with Building Regulations and the manufacturers instructions. . | Suitable and validated treatment systems are in use
[8 empty] | Closed |  | Bedford Borough Council | Prior to the installation of a new treatment system, ensure a competent person disinfects/ chlorinate the supply distribution system | Evidence shows that the equipment is operated according to manufacturer's instructions and is validated
[8 empty] | On Target |  | Bexley | Restrict or relocate slurry spreading or slurry lagoon respectively, 50metres from the source following Environmental Regulations enforced by the Environmental Agency. | Alarms are available for failure of processes
[8 empty] | Pending |  | Birmingham City Council | Ensure backflow protection is installed especially for animal watering systems, industrial users, etc. | Cold weather protection (and other adverse conditions) is installed
[8 empty] | Delayed |  | Blaby District Council | Secure equipment from unauthorised access and use. | Reservoir and storage tank covers are robust and sound seals are in place to prevent ingress
[10 empty] | Blackburn with Darwen Borough Council | Install appropriate drainage and other measures to protect equipment from flooding | Dosing arrangements are in place to minimise the production of Tri Halo Methanes (THMs) and other disinfection by products (DBP's)
[10 empty] | Blackpool Borough Council | Ensure that water is pre-treated to meet <1NTU turbidity before disinfection by UV and or Chlorine; by optimising existing processes or installing suitable treatment
[8 empty] | Risk Ranking |  | Blaenau Gwent County Borough Council | Create or modify procedures which govern the purchase of approved treatment chemicals, their delivery, handling and use.
[10 empty] | Bolsover District Council | Install suitable and validated treatment to disinfect the source water, ensuring adequate mixing, dose and contact time as appropriate.
[8 empty] | L | Low Risk | Bolton Metropolitan Borough Council | Ensure the treatment system 'fails safe' thus preventing untreated or partially treated (unsafe) water being supplied and consumed (often referred to as auto shutdown)
[8 empty] | M | Medium Risk | Boston Borough Council | Create or modify contingency plan to ensure consumers receive an alternate supply should the normal source be unavailable for any reason, including flooding, fire, vandalism, and loss of treatment (malfunction, damage or loss of electricity) for example.
[8 empty] | H | High Risk | Bournemouth Borough Council | Provide evidence to demonstrate that the treatment validated and suitable for the levels and types of contaminants present in the source water
[8 empty] | VH | Very High Risk | Bracknell Forest Borough Council | Provide evidence to demonstrate that the equipment is operated according to manufacturer's instructions and is validated
[10 empty] | Bradford Metropolitan District Council | Create or modify procedures which govern the servicing and maintenance of equipment and associated monitors including records to demonstrate maintenance history
[10 empty] | Braintree District Council | Create or modify procedures which govern the setting of alarms and response to them to ensure wholesome drinking water is supplied to consumers at all times.
[8 empty] | Validation of actions |  | Breckland District Council | Ensure treatment is protected from cold weather and other adverse conditions. Make procedures for contingency drinking water supplies should access to the site be lost
[8 empty] | Assess records for example photographs, documentation, schematics, maintenance log, service record and certificates |  | Brent | Install and calibrate online monitors and set up associated records to document servicing and maintenance work.
[8 empty] | Visit site to ensure that the improvements made comply with regulations and mitigate the associated hazard to a suitable level of safety. |  | Brentwood Borough Council | Carry out appropriate repairs to pipes, ensuring all fittings are Regulation 5 approved.
[8 empty] | Collect samples and assess sample results |  | Bridgend County Borough Council | Replace pipes, ensuring they are Regulation 5 approved material.
[10 empty] | Brighton & Hove City Council | Divert pipes/reconfigure the distribution system.
[10 empty] | Bristol City Council | to be lagged or run in conduit appropriate to the hazard (i.e. to prevent deterioration of water quality or contamination by damage or ingress of pipes by any means).
[8 empty] | Relevance |  | Broadland District Council | Remove cross connections between pipes carrying different water sources.
[8 empty] | Owner |  | Bromley | Put in place robust reservoir/storage tank covers, ensuring sound seals are in place to prevent ingress
[8 empty] | Consumer |  | Bromsgrove District Council | Replace/repair the existing structure to ensure that it is suitable robust against risk of damage and/or contamination by any means.
[8 empty] | Site Location |  | Broxbourne Borough Council | Put in place robust and suitable security measures to protect treated water storage facilities from unauthorised access
[8 empty] | Controller |  | Broxtowe Borough Council | Put in place suitable/adequate drainage arrangements appropriate to the hazard.
[8 empty] | Other |  | Burnley Borough Council | Where there are latrines, septic tanks, waste pipes, animal enclosures or cess pits are present in the vicinity of the distribution system, put in place/upgrade appropriate barrier methods to prevent contamination of treated water via ingress/leaching
[10 empty] | Bury Metropolitan Borough Council | Replace plastic pipes with barrier pipe to prevent migration of solvents/ fuel/oil.
[10 empty] | Caerphilly County Borough Council | Provide robust documents/records to demonstrate that the method(s) of treatment is/are appropriate to the hazard.
[8 empty] | Purpose |  | Calderdale Metropolitan Borough Council | Improve dosing arrangements to minimise the production of THMs/ disinfection by- products.
[8 empty] | Commercial |  | Cambridge City Council | Put in place/update procedures and records for the controlled and effective management of the distribution network management, such as valve operations, flushing, tap-ins, pipe maintenance and repair.
[8 empty] | Domestic |  | Camden | Put in place/update record keeping of water quality monitoring (e.g. chlorine residual measurements, sampling).
[8 empty] | Single Domestic Dwelling |  | Cannock Chase District Council | Put in place/update appropriate backflow protection measures to prevent actual or potential contamination of the public supply
[8 empty] | Other |  | Canterbury City Council | Put in place/update procedures and records of treated water storage facility cleaning and maintenance
[10 empty] | Cardiff Council | Replace/upgrade treated water storage facility to ensure that its capacity is replenished with fresh water regularly throughout each day (i.e. so that its size is proportionate to usage).
[10 empty] | Carlisle City Council | Install a vermin-proof cover not liable to corrosion
[8 empty] | Private supply types |  | Carmarthenshire County Council | Clean loft tanks - one off or implement a regular programme (update maintenance records)
[10 empty] | Castle Point Borough Council | Replace lead pipe-work
[8 empty] | Regulation 8 - Private Distribution Systems |  | Central Bedfordshire Council | Replace internal pipework if corroding and causing discolouration
[8 empty] | Regulation 9 - Large supplies (10m3/day or more) and those used as part of a commercial or public activity |  | Ceredigion County Council | Install back-flow protection on washing machines/dishwashers if water tastes of TCP
[8 empty] | Regulation 10 (England) – Small or shared (>1 property) supplies, up to 10m3 day |  | Charnwood Borough Council | Install adequate backflow protection between rainwater harvesting system and the drinking water supply (usually an air gap physically separating the systems)
[8 empty] | Regulation 10 (England) - A supply to a single dwelling not provided as part of a commercial or public activity |  | Chelmsford Borough Council | Ensure storage tank is of appropriate size and configuration to ensure adequate turnover of water.
[8 empty] | Regulation 10 (Wales) – A supply to a single untenanted dwellings only not used as part of a commercial or public activity. |  | Cheltenham Borough Council | Upgrade point of use treatment device to address raw water quality
[8 empty] | Regulation 11 (Wales) - Shared supplies to >1 properties up to 10m3 day and those to single tenanted dwellings. |  | Cherwell District Council | Put in place a maintenance regime for the point of use device to include filter or lamp changing, cleaning etc.
[10 empty] | Cheshire East Council | Replace/upgrade the UV unit
Cheshire West & Chester Council
Chesterfield Borough Council
Chichester District Council
Chiltern District Council
Chorley Borough Council
Christchurch Borough Council
City of London
Colchester Borough Council
Conwy County Borough Council
Copeland Borough Council
Corby Borough Council
Cornwall Council
Cotswold District Council
Coventry City Council
Craven District Council
Crawley Borough Council
Croydon
Dacorum Borough Council
Dandridge District Council
Darlington Borough Council
Dartford Borough Council
Daventry District Council
Denbighshire County Council
Derby City Council
Derbyshire Dales District Council
Doncaster Metropolitan Borough Council
Dover District Council
Dudley Metropolitan Borough Council
Durham County Council
Ealing
East Cambridgeshire District Council
East Devon District Council
East Dorset District Council
East Hampshire District Council
East Hertfordshire Council
East Lindsey District Council
East Northamptonshire District Council
East Riding of Yorkshire Council
East Staffordshire Borough Council
East Suffolk Council
Eastbourne Borough Council
Eastleigh Borough Council
Eden District Council
Elmbridge Borough Council
Enfield
Epping Forest District Council
Epsom and Ewell Borough Council
Erewash Borough Council
Exeter City Council
Fareham Borough Council
Fenland District Council
Flintshire County Council
Forest of Dean District Council
Fylde Borough Council
Gateshead Metropolitan Borough Council
Gedling Borough Council
Gloucester City Council
Gosport Borough Council
Gravesham Borough Council
Great Yarmouth Borough Council
Greenwich
Guildford Borough Council
Gwynedd County Council
Hackney
Halton Borough Council
Hambleton District Council
Hammersmith and Fulham
Harborough District Council
Haringey
Harlow District Council
Harrogate Borough Council
Harrow
Hart District Council
Hartlepool Borough Council
Hastings Borough Council
Havant Borough Council
Havering
Herefordshire
Hertsmere Borough Council
High Peak Borough Council
Hillingdon
Hinckley and Bosworth Borough Council
Horsham District Council
Hounslow
Hull City Council
Huntingdonshire District Council
Hyndburn Borough Council
Ipswich Borough Council
Isle of Anglesey County Council
Isle of Wight Council
Isles of Scilly
Islington
[6 empty] | 0 |  |  |  | Kensington and Chelsea
[6 empty] | TBC |  |  |  | Kettering Borough Council
[6 empty] | TBC |  |  |  | King's Lynn and West Norfolk Borough Council
[6 empty] | TBC |  |  |  | Kingston upon Thames
[6 empty] | TBC |  |  |  | Kirklees Council
Knowsley MBC
Lambeth
Lancaster City Council
[6 empty] | 0 |  |  |  | Leeds City Council
[6 empty] | TBC |  |  |  | Leicester City Council
[6 empty] | TBC |  |  |  | Lewes District Council
[6 empty] | TBC |  |  |  | Lewisham
[6 empty] | TBC |  |  |  | Lichfield District Council
[6 empty] | TBC |  |  |  | Lincoln Council
[6 empty] | TBC |  |  |  | Liverpool City Council
[6 empty] | 0 |  |  |  | Luton Borough Council
[6 empty] | TBC |  |  |  | Maidstone Borough Council
[6 empty] | TBC |  |  |  | Maldon District Council
[6 empty] | TBC |  |  |  | Malvern Hills District Council
[6 empty] | TBC |  |  |  | Manchester City Council
[6 empty] | TBC |  |  |  | Mansfield District Council
[6 empty] | TBC |  |  |  | Medway Council
[6 empty] | TBC |  |  |  | Melton Borough Council
Mendip District Council
Merthyr Tydfil County Borough Council
[6 empty] | 0 |  |  |  | Merton
[6 empty] | TBC |  |  |  | Mid Devon District Council
[6 empty] | TBC |  |  |  | Mid Suffolk District Council
[6 empty] | TBC |  |  |  | Mid Sussex District Council
[6 empty] | TBC |  |  |  | Middlesbrough Borough Council
[6 empty] | TBC |  |  |  | Milton Keynes Council
[6 empty] | TBC |  |  |  | Mole Valley District Council
[6 empty] | TBC |  |  |  | Monmouthshire County Council
[6 empty] | TBC |  |  |  | Neath Port Talbot County Borough Council
[6 empty] | TBC |  |  |  | New Forest District Council
Newark and Sherwood District Council
Newcastle-under-Lyme Borough Council
Newcastle-upon-Tyne City Council
[6 empty] | 0 |  |  |  | Newham Council
[6 empty] | TBC |  |  |  | Newport City Council
[6 empty] | TBC |  |  |  | North Devon District Council
[6 empty] | TBC |  |  |  | North Dorset District Council
[6 empty] | TBC |  |  |  | North East Derbyshire District Council
[6 empty] | TBC |  |  |  | North East Lincolnshire Council
North Hertfordshire District Council
North Kesteven District Council
North Lincolnshire Council
[6 empty] | 0 |  |  |  | North Norfolk District Council
[6 empty] | TBC |  |  |  | North Somerset District Council
[6 empty] | TBC |  |  |  | North Tyneside Metropolitan Borough Council
[6 empty] | TBC |  |  |  | North Warwickshire Borough Council
[6 empty] | TBC |  |  |  | North West Leicestershire District Council
[6 empty] | TBC |  |  |  | Northampton Borough Council
Northumberland County Council
Norwich City Council
Nottingham City Council
[6 empty] | 0 |  |  |  | Nuneaton & Bedworth Borough Council
[6 empty] | TBC |  |  |  | Oadby and Wigston Borough Council
[6 empty] | TBC |  |  |  | Oldham Metropolitan Borough Council
[6 empty] | TBC |  |  |  | Oxford City Council
[6 empty] | TBC |  |  |  | Pembrokeshire County Council
[6 empty] | TBC |  |  |  | Pendle Borough Council
[6 empty] | TBC |  |  |  | Peterborough City Council
[6 empty] | TBC |  |  |  | Plymouth City Council
[6 empty] | TBC |  |  |  | Poole Borough Council
[6 empty] | TBC |  |  |  | Portsmouth City Council
[6 empty] | TBC |  |  |  | Powys County Council
Preston City Council
Purbeck District Council
Reading Borough Council
[6 empty] | 0 |  |  |  | Redbridge
[6 empty] | TBC |  |  |  | Redcar & Cleveland Borough Council
[6 empty] | TBC |  |  |  | Redditch Borough Council
[6 empty] | TBC |  |  |  | Reigate and Banstead Borough Council
[6 empty] | TBC |  |  |  | Rhondda Cynon Taff County Borough Council
[6 empty] | TBC |  |  |  | Ribble Valley Borough Council
Richmond upon Thames
Richmondshire District Council
Rochdale Metropolitan Borough Council
Rochford District Council
Rossendale Borough Council
Rother District Council
Rotherham Metropolitan Borough Council
Rugby Borough Council
Runnymede Borough Council
Rushcliffe Borough Council
Rushmoor Borough Council
Rutland County Council District Council
Ryedale District Council
Salford City Council
Sandwell Metropolitan Borough Council
Scarborough Borough Council
Sedgmoor District Council
Sefton Metropolitan Borough Council
Selby District Council
Sevenoaks District Council
Sheffield City Council
Shepway District Council
Shropshire Council
Slough Borough Council
Solihull Metropolitan Borough Council
South Buckinghamshire District Council
South Cambridgeshire District Council
South Derbyshire District Council
South Gloucestershire Council
South Hams District Council
South Holland District Council
South Kesteven District Council
South Lakeland District Council
South Norfolk Council
South Northamptonshire Council
South Oxfordshire District Council
South Ribble Borough Council
South Somerset District Council
South Staffordshire District Council
South Tyneside Metropolitan Borough Council
Southampton City Council
Southend-on-Sea Borough Council
Southwark
Spelthorne Borough Council
St Albans District Council
St Helens Metropolitan Borough Council
Stafford Borough Council
Staffordshire Moorlands District Council
Stevenage Borough Council
Stockport MBC
Stockton on Tees Borough Council
Stoke-on-Trent City Council
Stratford-on-Avon District Council
Stroud District Council
Sunderland City Council
Surrey Heath Borough Council
Sutton
Swale Borough Council
Swansea City and Borough Council
Swindon Borough Council
Tameside Metropolitan Borough
Tamworth Borough Council
Taunton Deane Borough Council
Teignbridge District Council
Telford & Wrekin Council
Tendering District Council
Test Valley Borough Council
Tewkesbury Borough Council
Thanet District Council
Three Rivers District Council
Thurrock Council
Tonbridge and Malling Borough Council
Torbay Council
Torfaen County Borough Council
Torridge District Council
Tower Hamlets
Trafford Metropolitan Borough Council
Tunbridge Wells Borough Council
Uttlesford District Council
Vale of Glamorgan Council
Vale of White Horse District Council
Wakefield Metropolitan District Council
Walsall Metropolitan Borough Council
Waltham Forest
Wandsworth
Warrington Borough Council
Warwick District Council
Watford Borough Council
Waverley Borough Council
Wealden District Council
Wellingborough Borough Council
Welwyn Hatfield District Council
West Berkshire District Council
West Devon Borough Council
West Dorset District Council
West Lancashire District Council
West Lindsey District Council
West Oxfordshire District Council
West Somerset District Council
West Suffolk Council
Westminster City Council
Weymouth and Portland Borough Council
Wigan Metropolitan Borough Council
Wiltshire Council
Winchester City Council
Windsor and Maidenhead
Wirral Metropolitan Borough Council
Woking Borough Council
Wokingham Borough Council
Wolverhampton City Council
Worcester City Council
Worthing Borough Council
Wrexham County Borough Council
Wychavon District Council
Wycombe District Council
Wyre Borough Council
Wyre Forest District Council
York City Council